- General Information

| Auditing Organization (AO) | AO Name: Head Office Address: AO Contact person: Title: Tel.: E-mail: |
| --- | --- |
| Organization to be audited | Name: Address(es): Lead Auditor: Auditor(s): Technical Expert(s): |
| Objectives | - Evaluate the adequacy of the AO's auditing practices against requirements of ISO/IEC 17021-1:2015, specific MDSAP auditing requirements, and AO policies and procedures - Evaluate the AO's ability to evaluate and assign auditors based on demonstrated competence (e.g. knowledge and understanding of the MDSAP audit process, QMS and other regulatory requirements, and the technologies audited) - Evaluate the AO’s ability to generate reliable audit reports, including nonconformity reports, enabling the users of these data to make informed decisions |
| Scope of the audit | Assessment of: - The planning activities prior to the audit (e.g. the audit Program, the audit plan, the assignment of the audit team, communication prior to the audit) - The preparedness of the audit team - The audit technique employed against MDSAP audit process requirements - The competence of the audit team - The deliverables of the audit (e.g. audit report, nonconformity reports, etc.) |
| Assessment criteria | - ISO/IEC 17021-1:2015 – Conformity assessment – Requirements for bodies providing audit and certification of management systems - IMDRF MDSAP WG/N3(ed2) – Requirements for Medical Device Auditing Organizations for Regulatory Authority Recognition - IMDRF MDSAP WG/N4(ed2) – Competence and Training Requirements for Auditing Organizations |
| Reference documents | - MDSAP AS P0034 - Guidance for Regulatory Authority Assessors on the Method of Assessment for MDSAP Auditing Organizations - MDSAP Audit Approach - GHTF/SG3/N19:2012 – Nonconformity grading system for regulatory purpose and information exchange - MDSAP AU P0008 – Audit Time Calculation Procedure - MDSAP AU P0019 – MDSAP Regulatory Audit Report Policy - MDSAP AU P0037 - Guidelines on the use of GHTF/SG3/N19:2012 for MDSAP purposes - Australian Medical Device Regulations - Brazilian Medical Device Good Manufacturing Practices (Resolution RDC 665/2022) - Brazilian Post-Market Surveillance and Medical Device Reporting (Resolution RDC 67/2009) - Brazilian Field Actions (Resolution RDC 551/2021) - Canadian Medical Device Regulations (applicable parts of SOR-98/282) - Japanese Medical Device Regulations (PMD Act) - Japanese QMS Ordinance (MHLW MO169) - US Medical Device Regulations (21 CFR parts 820, 803, 806, 807, 814 and 821) |
| On-site audit date(s) | YYYY-MM-DD to YYYY-MM-DD |

- Assessment of Pre-Audit Documentation

| Documents provided prior to the audit: | Yes | No |
| --- | --- | --- |
| Contact information of the AO auditors |  |  |
| Evidence of AO auditors’ competence to perform the audit or rationale for their selection |  |  |
| Rationale for the audit duration |  |  |
| Copy of the information provided by the AO to the auditors regarding the audit to perform |  |  |
| Completed MDSAP AS F0012.2 Manufacturer Profile Form |  |  |
| Last audit report of the manufacturer (if any) |  |  |
| Audit plan prepared by the AO audit team |  |  |
| AO's descriptive information on the device manufacturer |  |  |
| Comments: |  |  |

- Assessment from the Witnessed Audit and Post-Audit evaluation

| CHAPTER 1 - Process: Management |  |  |  |  |
| --- | --- | --- | --- | --- |
| Auditor initials: | Assessor initials: | Audit Approach Task | Audit Observation Select the applicable item. When relevant, provide comments and references to the documents or objective evidence reviewed to support your assessment. | Post-Audit Evaluation Select the applicable item. When relevant, provide comments on AO’s MDSAP Report/ NGE Form/ Others |
|  |  | 1. QMS Planning, Implementation, Changes and Quality Manual | Select an item | Select an item |
|  |  | 2. Management Representative | Select an item | Select an item |
|  |  | 3. Quality Policy and Quality Objectives | Select an item | Select an item |
|  |  | 4. Organizational Structure, Responsibility, Authority, Resources | Select an item | Select an item |
|  |  | 5. Extent of Outsourcing | Select an item | Select an item |
|  |  | 6. Personnel Competency and Training | Select an item | Select an item |
|  |  | 7. Risk Management Planning and Review | Select an item | Select an item |
|  |  | 8. Document and Record Controls | Select an item | Select an item |
|  |  | 9. Management Reviews | Select an item | Select an item |
|  |  | 10. Distribution of Devices with Appropriate Marketing Authorization | Select an item | Select an item |
|  |  | 11. Top Management Commitment to Quality | Select an item | Select an item |
| CHAPTER 2 - Process: Device Marketing Authorization and Facility Registration |  |  |  |  |
| Auditor initials: | Assessor initials: | Audit Approach Task | Audit Observation Select the applicable item. When relevant, provide comments and references to the documents or objective evidence reviewed to support your assessment. | Post-Audit Evaluation Select the applicable item. When relevant, provide comments on AO’s MDSAP Report/ NGE Form/ Others |
|  |  | 1. Submission for Device Marketing Authorization and Facility Registration | Select an item | Select an item |
|  |  | 2. Evidence of Marketing Clearance or Approval | Select an item | Select an item |
|  |  | 3. Notification of Changes to Marketed Devices or to the QMS | Select an item | Select an item |
| CHAPTER 3 - Process: Measurement, Analysis and Improvement |  |  |  |  |
| Auditor initials: | Assessor initials: | Audit Approach Task | Audit Observation Select the applicable item. When relevant, provide comments and references to the documents or objective evidence reviewed to support your assessment. | Post-Audit Evaluation Select the applicable item. When relevant, provide comments on AO’s MDSAP Report/ NGE Form/ Others |
|  |  | 1. Procedures for Measurement, Analysis, and Improvement of QMS Effectiveness and Product Conformity | Select an item | Select an item |
|  |  | 2. Sources of quality data | Select an item | Select an item |
|  |  | 3. Investigation of Nonconformity | Select an item | Select an item |
|  |  | 4. Investigation of Potential Nonconformity | Select an item | Select an item |
|  |  | 5. Correction, Corrective Action, and Preventive Action | Select an item | Select an item |
|  |  | 6. Assessment of Design Change resulting from Corrective or Preventive Action | Select an item | Select an item |
|  |  | 7. Assessment of Process Change resulting from Corrective or Preventive Action | Select an item | Select an item |
|  |  | 8. Identification and Control of Nonconforming Product | Select an item | Select an item |
|  |  | 9. Action Regarding Nonconforming Product Detected After Delivery | Select an item | Select an item |
|  |  | 10. Internal Audit | Select an item | Select an item |
|  |  | 11. Information Supplied for Management Review | Select an item | Select an item |
|  |  | 12. Evaluation of Information from Post-Production Phase, Including Complaints | Select an item | Select an item |
|  |  | 13. Communications with External Parties Involved on Complaints | Select an item | Select an item |
|  |  | 14. Evaluation of Complaints for Adverse Event Reporting | Select an item | Select an item |
|  |  | 15. Evaluation of Quality Problems for Advisory Notices | Select an item | Select an item |
|  |  | 16. Top Management Commitment to Measurement, Analysis, and Improvement Process | Select an item | Select an item |
| CHAPTER 4 - Process: Medical Device Adverse Events and Advisory Notice Reporting |  |  |  |  |
| Auditor initials: | Assessor initials: | Audit Approach Task | Audit Observation Select the applicable item. When relevant, provide comments and references to the documents or objective evidence reviewed to support your assessment. | Post-Audit Evaluation Select the applicable item. When relevant, provide comments on AO’s MDSAP Report/ NGE Form/ Others |
|  |  | 1. Notification of Adverse Events | Select an item | Select an item |
|  |  | 2. Notification of advisory notices | Select an item | Select an item |
| CHAPTER 5 - Process: Design and Development |  |  |  |  |
| Auditor initials: | Assessor initials: | Audit Approach Task | Audit Observation Select the applicable item. When relevant, provide comments and references to the documents or objective evidence reviewed to support your assessment. | Post-Audit Evaluation Select the applicable item. When relevant, provide comments on AO’s MDSAP Report/ NGE Form/ Others |
|  |  | 1. Identification of devices subject to design and development procedures; technical documentation | Select an item | Select an item |
|  |  | 2. Selection of a completed design and development project | Select an item | Select an item |
|  |  | 3. Design and development planning | Select an item | Select an item |
|  |  | 4. Implementation of the design and development process | Select an item | Select an item |
|  |  | 5. Design and development input | Select an item | Select an item |
|  |  | 6. Completeness, coherence, and unambiguity of design and development input | Select an item | Select an item |
|  |  | 7. Design and development output and design verification | Select an item | Select an item |
|  |  | 8. Risk management activities applied throughout the design and development project | Select an item | Select an item |
|  |  | 9. Design verification or design validation to confirm effectiveness of risk control measures | Select an item | Select an item |
|  |  | 10. Design validation | Select an item | Select an item |
|  |  | 11. Clinical evaluation and/or evaluation of medical device safety and performance | Select an item | Select an item |
|  |  | 12. Software design and development | Select an item | Select an item |
|  |  | 13. Design and development change | Select an item | Select an item |
|  |  | 14. Design review | Select an item | Select an item |
|  |  | 15. Impact review of design and development changes on previously made and distributed devices | Select an item | Select an item |
|  |  | 16. Design transfer | Select an item | Select an item |
|  |  | 17. Top management commitment to design and development process | Select an item | Select an item |
| CHAPTER 6 - Process: Production and Process Control |  |  |  |  |
| Auditor initials: | Assessor initials: | Audit Approach Task | Audit Observation Select the applicable item. When relevant, provide comments and references to the documents or objective evidence reviewed to support your assessment. | Post-Audit Evaluation Select the applicable item. When relevant, provide comments on AO’s MDSAP Report/ NGE Form/ Others |
|  |  | 1. Planning of production and service process | Select an item | Select an item |
|  |  | 2. Selection of production and service process(es) | Select an item | Select an item |
|  |  | 3. Controls for the implementation of selected production and service process(es) | Select an item | Select an item |
|  |  | 4. Control of product cleanliness | Select an item | Select an item |
|  |  | 5. Infrastructure | Select an item | Select an item |
|  |  | 6. Work environment | Select an item | Select an item |
|  |  | 7. Identification of processes subject to validation | Select an item | Select an item |
|  |  | 8. Process validation | Select an item | Select an item |
|  |  | 9. Validation of sterilization process | Select an item | Select an item |
|  |  | 10. Monitoring and measurement of product conformity | Select an item | Select an item |
|  |  | 11. Control, operation, and monitoring of the production and service process; risk controls | Select an item | Select an item |
|  |  | 12. Competence of personnel | Select an item | Select an item |
|  |  | 13. Control of monitoring and measuring device | Select an item | Select an item |
|  |  | 14. Impact analysis of monitoring and measuring device found out of specifications | Select an item | Select an item |
|  |  | 15. Validation of software used for the control of the production and service process | Select an item | Select an item |
|  |  | 16. Device master file | Select an item | Select an item |
|  |  | 17. Production record; evidence of compliance of released devices | Select an item | Select an item |
|  |  | 18. Traceability applied to implantable, life-supporting, or life-sustaining medical devices Auditor | Select an item | Select an item |
|  |  | 19. Identification of product status | Select an item | Select an item |
|  |  | 20. Customer property | Select an item | Select an item |
|  |  | 21. Acceptance activities | Select an item | Select an item |
|  |  | 22. Identification, control, and disposition of nonconforming products | Select an item | Select an item |
|  |  | 23. Rework of nonconforming products | Select an item | Select an item |
|  |  | 24. Preservation of the product | Select an item | Select an item |
|  |  | 25. Review of customer requirements, distribution records | Select an item | Select an item |
|  |  | 26. Installation activities | Select an item | Select an item |
|  |  | 27. Servicing activities | Select an item | Select an item |
|  |  | 28. Risk controls applied to transport, installation, and servicing | Select an item | Select an item |
|  |  | 29. Top management commitment to the production and service process | Select an item | Select an item |
| CHAPTER 7 - Process: Purchasing |  |  |  |  |
| Auditor initials: | Assessor initials: | Audit Approach Task | Audit Observation Select the applicable item. When relevant, provide comments and references to the documents or objective evidence reviewed to support your assessment. | Post-Audit Evaluation Select the applicable item. When relevant, provide comments on AO’s MDSAP Report/ NGE Form/ Others |
|  |  | 1. Planning activities regarding purchased products and outsourced processes | Select an item | Select an item |
|  |  | 2. Selection of supplier file(s) to audit | Select an item | Select an item |
|  |  | 3. Procedure for the control of purchased products and outsourced processes | Select an item | Select an item |
|  |  | 4. Extent of controls applied to the supplier and the purchased product; criteria for selection, evaluation, and re-evaluation of the supplier | Select an item | Select an item |
|  |  | 5. Selection of supplier based on ability of the supplier to satisfy the specified purchase requirements | Select an item | Select an item |
|  |  | 6. Records of supplier evaluation | Select an item | Select an item |
|  |  | 7. Effective controls over supplier and products | Select an item | Select an item |
|  |  | 8. Verification of the adequacy of purchasing information, specified purchase requirements, and written agreement to notify changes, before their communication to the supplier | Select an item | Select an item |
|  |  | 9. Documented purchasing information and specified purchase requirements | Select an item | Select an item |
|  |  | 10. Verification of purchased products | Select an item | Select an item |
|  |  | 11. Purchasing control activities as source of quality data for the measurement, analysis, and improvement process | Select an item | Select an item |
|  |  | 12. Top management commitment to the purchasing process | Select an item | Select an item |

- Audit team Competence and Behaviour evaluation

| Comments on knowledge of the technical area |  |
| --- | --- |
| Comments on knowledge of ISO 13485:2016 and Good Manufacturing Practices |  |
| Comments on knowledge of other medical device regulatory requirements |  |
| Comments on auditing skills (except MDSAP Audit Approach) |  |
| Comments on opening meeting and closing meeting |  |
| Comments on behaviour |  |
| Conclusion |  |

- Nonconformities and Final Report

| Comments on the audit thoroughness and the audit team’s ability to identify nonconformities |  |
| --- | --- |
| Comments on the nonconformity reports, including their grading and the evidence supporting them |  |
| Comments on the communication of the nonconformities to the manufacturer |  |
| Comments on the compliance of the audit report to the MDSAP Audit Report Procedure and Template on the content of regulatory audit reports |  |
| Comments on fulfilment of audit objectives, specific to the audit type and the audit program |  |
| Comments on the consistency between the audit performed and the audit report |  |
| Conclusion |  |

- Conclusion

| Conclusion regarding: - performance of the audit and certification decision process - conformity to the assessment criteria - confidence in the ability of the AO to reliably audit and certify the compliance of device manufacturers to ISO 13485:2016 and their ability to satisfy regulatory requirements |  |
| --- | --- |

- Assessment Findings

| Non-Conformities { complete corresponding non-conformity forms MDSAP F0015.2} |  |
| --- | --- |
| 1 |  |
| 2 |  |
| 3 |  |
| Observations |  |
| 1 |  |
| 2 |  |
| 3 |  |
| Points to Clarify |  |
| 1 |  |

- List of Attachments/ Exhibits

| 1 |  |
| --- | --- |

- Assessment Team

| Assessor Name |  |
| --- | --- |
| MDSAP Participating Regulatory Authority |  |
| Assessor’s Role | {Assessment team leader, Assessor, Technical expert} |
| Date | YYYY/MM/DD |
| Signature |  |

{Add as many Assessors as applicable}